## Slide 1
cmp-station-rtu-01
cmp-station-switch-01
cmp-maintenance-laptop-01
Maintenance Laptop A mobile engineering and maintenance device used by a service technician. It is temporarily connected to the OT network during maintenance activities and serves as the entry point of the attack path.
RUGGEDCOM RST2428P An industrial managed Ethernet switch from Siemens running SINEC OS. It connects the maintenance access point to the station network and provides network switching and segmentation functions.
SICAM 8 CPCI85 A Siemens RTU and substation automation controller. The component processes operational data and control commands and represents the critical target of the attack path.
Asset
Laptop is compromzied
Initial Access The attacker controls the maintenance laptop or uses compromised credentials. Access to the Network Component Through the active management connection, the attacker reaches the RUGGEDCOM switch running SINEC OS. Manipulation or Bypass of Network Segmentation Some vulnerability affecting the device allows the attacker to modify or bypass network and access controls. Lateral Movement As a result, a previously unreachable SICAM 8 component within the station network becomes accessible. Compromise of the Control Component The attacker exploits one of the documented vulnerabilities affecting SICAM 8 or abuses an insecure product function. Impact The attacker can impair the availability or integrity of a protection, control, or communication function.
1
2
3
4
5
Example Attack Path
maintenance_network_interface
maintenance_uplink
station_network_port
management_interface
station_network_interface
field_interface